## Sheet1
TIES CNPI
COLLEGE ENERGY AUDIT
SHEET 1 A. INDOOR LIGHTING
Sl. No: | Block | Department | Type | Use | Construction type | Windows & doors4/skylight5/wall paint reflection6 | Power consuming Equipments/instruments | No. of lights/ points | Power rating (W) | Hours of use / week | Power Consumption/week(kWh)
| PHYSICS | PHYSICS | IIBSC classroom | Lecture and students spent their leisure time | Concrete | 2 windows with 3 windowpanes;1 door; reasonable reflection; average skylight | Fluorescent tube Light | 1 | 40 | 3 | 0.12
[7 empty] | fan | 1 | 55 | 15 | 0.825
|  | PHYSICS | III BSC classroom | Lecture and students spent their leisure time | Concrete | 3 windows with 3 windowpanes;1 door; reasonable reflection; average skylight | Fluorescent tube Light | 2 | 40 | 3 | 0.24
[7 empty] | fan | 1 | 55 | 15 | 0.825
[7 empty] | CFL | 1 | 18 | 0 | 0
[7 empty] | Plug point |  |  |  | 0
0
|  | PHYSICS | Staffroom – Main | Teachers spent their leisure time | Concrete | 1 window with 3 window panes; 1 door; reasonable reflection; less skylight | Fan | 1 | 55 | 10 | 0.55
[7 empty] | LED Tube Light | 1 | 18 | 10 | 0.18
[7 empty] | Desktop Computer | 2 | 100 | 1 | 0.2
[7 empty] | Plug point | 3 |  |  | 0
|  | PHYSICS | Staffroom- sub | Teachers spent their leisure time | Concrete | 1 window;1 door; reasonable reflection; less skylight | ceiling fan | 1 | 55 | 10 | 0.55
[7 empty] | Fluorescent tube light | 2 | 40 | 10 | 0.8
[7 empty] | Plug point | 2 |  |  | 0
|  | PHYSICS | Ist floor verandah/staircase | corridor | concrete | no skylight | Incandescent lamp | 2 | 60 | 0.5 | 0.06
|  | PHYSICS | Ist floor verandah/staircase | staircase | concrete | medium skylight | Fluorescent tube Light | 1 | 40 | 0 | 0
|  | PHYSICS | Mechanics Lab | Students do their lab experiments | concrete | 5 windows with 3 window panes; 1window with 2 window panes; medium skylight; 1 door; reflection; | Fluorescent tube Light | 3 | 40 | 10 | 1.2
[7 empty] | transformer(sodium vapour lamp) | 1 | 35 | 6 | 0.21
[7 empty] | LED tube | 1 | 18 | 1 | 0.018
[7 empty] | plug point | 36 |  |  | 0
[7 empty] | power plug | 2 |  |  | 0
[7 empty] | inverter | 1 | 1600 | 8 | 12.8
[7 empty] | fan | 4 | 55 | 10 | 2.2
|  | PHYSICS | Electronics Lab | Students do their lab experiments | concrete | 4 windows with 3 window panes; 1 door; less skylight; reflection | Desktop Computer | 5 | 100 | 0.5 | 0.25
[7 empty] | plug point | 32 |  |  | 0
[7 empty] | Projector | 1 | 190 |  | 0
[7 empty] | Fluorescent tube Light | 2 | 40 | 10 | 0.8
[7 empty] | fan | 3 | 55 | 10 | 1.65
0
| MIDDLE | ENGLISH | Staffroom1- English | Teachers spent their leisure time | Clay tile roof, concrete walls | 4 windows; 1 door; medium skylight | LED Tube | 1 | 18 | 10 | 0.18
[7 empty] | Fan | 4 | 60 | 10 | 2.4
[7 empty] | Desktop Computer | 1 | 100 | 5 | 0.5
[7 empty] | Printer | 1 | 259 | 0.5 | 0.1295
[9 empty] | 0 | 0 | 0
|  |  | Verandah |  |  |  | LED bulb | 1 | 9 | 10 | 0.09
[7 empty] | Cooler | 1 | 300 | 15 | 4.5
|  | ECONOMICS | Staffroom | Teachers spent their leisure time | Clay tile roof, concrete walls | 1 window; 1 door; medium skylight | Fan | 1 | 55 | 0 | 0
[7 empty] | Fluorescent tube Light | 1 | 40 | 10 | 0.4
[7 empty] | Plug point | 1 | 0 | 0 | 0
|  | ENGLISH | Heritage Museum | Leisure Time | Clay tile roof, concrete walls | 2 windows; 1 door; medium skylight | Spot lights | 5 | 0 | 0 | 0
[7 empty] | Plug point | 1 | 0 | 0 | 0
| ADMINISTRATIVE | MAIN | I BA English classroom | Lecture and students spent their leisure time | concrete | 3 windows;1 door; medium skylight | Fluorescent tube Light | 2 | 40 | 5 | 0.4
[7 empty] | Fan | 3 | 55 | 10 | 1.65
[7 empty] | Plug point | 1 | 0 | 0 | 0
[8 empty] | 1 | 0 | 0 | 0
|  | MAIN | II BA English classroom | Lecture and students spent their leisure time | concrete | 3 windows; 1 door | LED | 1 | 18 | 5 | 0.09
[7 empty] | Fluorescent tube Light | 1 | 40 | 2 | 0.08
[7 empty] | Fan | 3 | 55 | 10 | 1.65
|  | MAIN | III BA English classroom | Lecture and students spent their leisure time | concrete | 3 windows; 1 door | Fan | 3 | 60 | 10 | 1.8
[7 empty] | Fluorescent tube Light | 2 | 40 | 5 | 0.4
|  | MAIN | Staff Rest Room | Leisure time | concrete | 1 window with 2 window panes; 1 door; medium skylight | Fan | 2 | 55 | 10 | 1.1
[7 empty] | LED Tube | 2 | 18 | 5 | 0.18
[7 empty] | plug point | 3 |  |  | 0
[7 empty] | LED Bulb | 1 | 9 | 2 | 0.018
[7 empty] | Cooler | 1 | 40 | 10 | 0.4
|  | MAIN | corridor |  |  |  | LED tube light | 2 | 20 | 15 | 0.6
[7 empty] | flood light | 2 | 100 | 15 | 3
[7 empty] | T-bulb | 2 | 12 | 15 | 0.36
|  | MAIN | Staff Rest Room toilet | toilet | concrete |  | CFL | 1 | 18 | 5 | 0.09
|  | MAIN | Photostat Room | For printing/photostat | concrete | 1 window with 2 window panes; 1 door; medium skylight | LED bulb | 1 | 9 | 5 | 0.045
[7 empty] | fan | 1 | 55 | 5 | 0.275
[7 empty] | modem | 1 | 20 | 15 | 0.3
[7 empty] | stabilizer | 1 | 50 | 40 | 2
[7 empty] | printer | 1 | 230 | 20 | 4.6
[7 empty] | desktop computer | 1 | 100 | 0.5 | 0.05
|  | MAIN | Principal Room | Principal spent work time /meeting | concrete | 2 window with 3 window panes; 1 door | LED light | 1 | 9 | 36 | 0.324
[7 empty] | plug point | 6 |  |  | 0
[7 empty] | LED TV | 1 | 135 | 36 | 4.86
[7 empty] | printer | 1 | 12 | 10 | 0.12
[7 empty] | Desktop computer | 1 | 100 | 30 | 3
[7 empty] | AC | 1 | 1000 | 0 | 0
[7 empty] | inverter | 1 | 1600 | 2 | 3.2
[7 empty] | fan | 2 | 60 | 0.5 | 0.06
|  | MAIN | Principal Room(inside) | Leisure Time | concrete |  | power plug | 1 |  |  | 0
[7 empty] | plug point | 2 |  |  | 0
[7 empty] | fan | 1 | 55 | 1 | 0.055
[7 empty] | DVR | 1 | 30 | 40 | 1.2
[7 empty] | CFL bulb | 3 | 18 | 1 | 0.054
|  | MAIN | College Office Room | office staff spent their time for work | concrete | 2 windows with 2 window panes; 1 window with three window panes | LED tube light | 5 | 20 | 10 | 1
[7 empty] | fan | 5 | 50 | 20 | 5
[7 empty] | Desktop computer | 7 | 100 | 25 | 17.5
[7 empty] | printer | 1 | 58 | 18 | 1.044
[7 empty] | printer | 1 | 250 | 18 | 4.5
[7 empty] | printer | 1 | 250 | 18 | 4.5
[7 empty] | printer | 1 | 1200 | 18 | 21.6
[7 empty] | printer | 1 | 2400 | 18 | 43.2
[7 empty] | amplifier | 1 | 250 | 1 | 0.25
[7 empty] | inverter | 1 | 2400 | 2 | 4.8
[7 empty] | plug point | 30 |  |  | 0
|  | MAIN | Network Room | Teachers use internet browsing/document preparation | concrete |  | fan | 1 | 80 | 2 | 0.16
[7 empty] | Desktop computer | 8 | 100 | 4 | 3.2
[7 empty] | inverter | 1 | 1600 | 2 | 3.2
|  | MAIN | Audio visual room | during university exam | concrete | 3 windows with 3 windowpanes;1 door; reasonable reflection; average skylight | fan | 3 | 55 | 1 | 0.165
[7 empty] | Fluorescent tube Light | 2 | 36 | 3 | 0.216
| COMMERCE | COMMERCE | IQAC | IQAC meeting | concrete | 2 windows; 1 door; medium skylight | LED tube | 2 | 18 | 3 | 0.108
[7 empty] | fan | 1 | 55 | 3 | 0.165
[7 empty] | plug point | 2 |  |  | 0
[7 empty] | Desktop computer | 2 | 100 | 3 | 0.6
[7 empty] | inverter | 1 | 1200 | 5 | 6
[7 empty] | printer | 1 | 50 | 2 | 0.1
|  | COMMERCE | Staffroom-commerce | Teachers spent their leisure time | concrete | 3 windows;1 door; medium skylight | fan | 2 | 55 | 5 | 0.55
[7 empty] | Fluorescent tube Light | 1 | 36 | 3 | 0.108
[7 empty] | UPS | 1 | 800 | 1 | 0.8
[7 empty] | LED tube | 1 | 18 | 3 | 0.054
[7 empty] | Desktop computer | 1 | 100 | 0.5 | 0.05
[7 empty] | printer | 1 | 250 | 0.5 | 0.125
|  | COMMERCE | II Mcom - classroom | Lecture and students spent their leisure time | concrete | 3 windows; 1 door; medium skylight | Fluorescent tube Light | 2 | 40 | 5 | 0.4
[8 empty] | 1 |  |  | 0
[7 empty] | fan | 2 | 55 | 10
[7 empty] | plug point | 3 |  |  | 0
|  | COMMERCE | I Mcom | Lecture and students spent their leisure time | concrete | 3 windows; 1 door; medium skylight | fan | 1 | 55 | 10 | 0.55
[7 empty] | Fluorescent tube Light | 2 | 40 | 5 | 0.4
[7 empty] | plug point | 3 |  |  | 0
[7 empty] | Projector | 1 | 218 | 1 | 0.218
|  | COMMERCCE | III Bcom | Lecture and students spent their leisure time | concrete | 3 windows; 1 door; medium skylight | Fluorescent tube Light | 2 | 36 | 5 | 0.36
[7 empty] | fan | 1 | 55 | 10 | 0.55
|  | COMMERCE | II Bcom | Lecture and students spent their leisure time | concrete | 3 windows; 1 door; medium skylight | Fluorescent tube Light | 2 | 40 | 5 | 0.4
[7 empty] | fan | 2 | 55 | 10 | 1.1
|  | COMMERCE | I Bcom | Lecture and students spent their leisure time | concrete | 3 windows; 1 door; medium skylight | Fluorescent tube Light | 2 | 40 | 5 | 0.4
[7 empty] | fan | 2 | 55 | 10 | 1.1
|  | verandah |  |  |  |  | water cooler | 1 | 300 | 10 | 3
[7 empty] | led light | 2 | 9 | 15 | 0.27
| SELF-FINANCING | GENERAL | Parlour | Meeting/videoconference | concrete | 1 window with 3 window panes; 1 door | plug point | 8 |  |  | 0
[7 empty] | LED TV | 1 | 50 | 0.5 | 0.025
[7 empty] | AC | 2 | 1000 | 0.5 | 1
[7 empty] | fan | 2 | 60 |  | 0
[7 empty] | stabilizer | 3 | 50 | 0.5 | 0.075
[7 empty] | Mini CPU | 1 | 18 | 0.5 | 0.009
|  | Computer Lab |  | Lecture and students spent their time | concrete |  | Projector | 1 | 218 | 1 | 0.218
[7 empty] | plug point | 49 |  |  | 0
[7 empty] | power plug | 5 |  |  | 0
[7 empty] | LED tube light | 6 | 20 | 7 | 0.84
[7 empty] | Desktop computer | 31 | 100 | 3 | 9.3
[7 empty] | fan | 4 | 55 | 5 | 1.1
[7 empty] | printer | 1 | 1200 | 0.5 | 0.6
[7 empty] | printer | 1 | 16 | 0.5 | 0.008
[7 empty] | inverter | 2 | 4000 | 5 | 40
|  | Toilet |  |  | concrete |  | CFL | 2 | 18 | 10 | 0.36
[7 empty] | fan(exhaust) | 1 | 70 | 10 | 0.7
|  | COMMERCE- SELF | IIIBCom classroom | Lecture and students spent their time | Aluminium roofing |  | fan | 2 | 55 | 15 | 1.65
[7 empty] | Fluorescent tube Light | 7 | 40 | 15 | 4.2
[7 empty] | fan(exhaust) | 1 | 70 | 25 | 1.75
|  | COMMERCE SELF | I Bcom- classroom | Lecture and students spent their time | Aluminium roofing |  | fan | 4 | 60 | 15 | 3.6
[7 empty] | Fluorescent tube Light | 2 | 40 | 15 | 1.2
[7 empty] | plug point | 1 |  |  | 0
|  | COMMERCE SELF | staffroom | Teachers spent their leisure time | Aluminium roofing |  | plug point | 3 |  |  | 0
[7 empty] | Fluorescent tube Light | 2 | 40 | 20 | 1.6
[7 empty] | fan | 2 | 60 | 20 | 2.4
|  | COMMERCE SELF | II Bcom classroom | Lecture and students spent their time | Aluminium roofing |  | Fluorescent tube Light | 3 | 40 | 20 | 2.4
[7 empty] | fan | 4 | 60 | 15 | 3.6
[7 empty] | cooler | 1 | 300 | 10 | 3
|  | Chemistry Lab | lab | Teachers and students spent their time during lab hours | concrete |  | fan | 1 | 60 | 1 | 0.06
[7 empty] | LED tube | 4 | 20 | 1 | 0.08
[7 empty] | Incandescent bulb | 1 | 60 | 1 | 0.06
[7 empty] | LED bulb | 1 | 9 | 1 | 0.009
[7 empty] | Fluorescent tube Light | 3 | 40 | 1 | 0.12
[7 empty] | Desktop computer | 1 | 100 | 1 | 0.1
|  |  | corridor |  |  |  | LED bulb | 1 | 9 | 25 | 0.225
| LIBRARY | library |  | Teachers and students spent their time reading | concrete | 15 windows with 4 window panes; 6 window with 3 window panes; 1 window with 2 window panes | CFL | 8 | 18 | 5 | 0.72
[7 empty] | Fluorescent tube Light | 19 | 40 | 5 | 3.8
[7 empty] | fan | 16 | 60 | 20 | 19.2
[7 empty] | power plug | 10 |  |  | 0
[7 empty] | plug point | 16 |  |  | 0
[7 empty] | inverter | 1 | 1600 | 2 | 3.2
[7 empty] | Desktop computer | 3 | 100 | 15 | 4.5
[7 empty] | mini cpu | 2 | 18 | 0 | 0
[7 empty] | modem | 1 | 20 | 30 | 0.6
0
|  | Malayalam | staffroom | Teachers spent their leisure time | concrete | 2 window with 3 window panes; 1 door | plug point | 2 |  |  | 0
[7 empty] | fan | 2 | 60 | 20 | 2.4
|  | Language classroom | Hindi classroom | Lecture and students spent their time | concrete | 3 window with 3 window panes; 1 door | plug point | 1 |  |  | 0
[7 empty] | fan | 1 | 55 | 5 | 0.275
[7 empty] | Fluorescent tube Light | 1 | 40 | 5 | 0.2
|  | I BSc | classroom | Lecture and students spent their time | concrete | 3 window with 3 window panes; 1 door | plug point | 1 |  |  | 0
[7 empty] | fan | 1 | 55 | 10 | 0.55
[7 empty] | Fluorescent tube Light | 2 | 40 | 5 | 0.4
|  | I PG History | classroom | Lecture and students spent their time | concrete | 1 window with 4 window panes; 1 door; medium skylight | Fluorescent tube Light | 2 | 40 | 5 | 0.4
[7 empty] | fan | 2 | 60 | 10 | 1.2
|  | II PG History | classroom | Lecture and students spent their time | concrete | 2 window with 3 window panes; 1 door; medium skylight | Fluorescent tube Light | 2 | 40 | 10 | 0.8
[7 empty] | fan | 2 | 55 | 15 | 1.65
[7 empty] | plug point | 3 |  |  | 0
|  | Seminar Hall | meeting | seminars/meetings | concrete | 10 windows with 3 window panes; 1 window with 2 window panes; 1 door; medium skylight | plug point | 17 |  |  | 0
[7 empty] | power plug | 1 |  |  | 0
[7 empty] | fan | 10 | 60 | 5 | 3
[7 empty] | amplifier | 1 | 250 | 5 | 1.25
[7 empty] | projector | 1 | 218 | 5 | 1.09
[7 empty] | speaker | 2 | 150 | 5 | 1.5
[7 empty] | CFL | 3 | 9 | 5 | 0.135
[7 empty] | Fluorescent tube Light | 6 | 36 | 5 | 1.08
|  | BVoc | staffroom | Teachers spent their leisure time | concrete | 2 window with 2 window panes | plug point | 4 |  |  | 0
[7 empty] | fan | 1 | 55 | 25 | 1.375
[7 empty] | CFL | 1 | 18 | 1 | 0.018
[7 empty] | Desktop computer | 1 | 100 | 15 | 1.5
|  | I BVoc | classroom | Lecture and students spent their time | concrete | 2 windows with 3 window panes | plug point | 1 |  |  | 0
[7 empty] | fan | 4 | 55 | 15 | 3.3
[7 empty] | LED tube light | 2 | 20 | 3 | 0.12
[7 empty] | projector | 1 | 218 | 15 | 3.27
|  | II BVoc | classroom | Lecture and students spent their time | concrete | 2 windows with 3 window panes | plug point | 1 |  |  | 0
[7 empty] | fan | 4 | 55 | 15 | 3.3
[7 empty] | LED tube light | 2 | 18 | 2 | 0.072
[7 empty] | projector | 1 | 218 | 25 | 5.45
|  | IBA History | classroom | Lecture and students spent their time | concrete | 4 window with 3 window panes | plug point | 1 |  |  | 0
[7 empty] | fan | 5 | 55 | 10 | 2.75
[7 empty] | LED light | 2 | 18 | 4 | 0.144
|  | IIBA History | classroom | Lecture and students spent their time | concrete | 4 window with 3 window panes | plug point | 1 |  |  | 0
[7 empty] | fan | 5 | 55 | 10 | 2.75
[7 empty] | LED light | 2 | 18 | 4 | 0.144
|  | IIIBA History | classroom | Lecture and students spent their time | concrete | 3 window with 3 window panes | plug point | 1 |  |  | 0
[7 empty] | fan | 4 | 55 | 15 | 3.3
[7 empty] | LED light | 2 | 18 | 4 | 0.144
|  | History | staffroom | Lecture and students spent their time | concrete | 2 window with 3 window panes | cooler | 1 | 300 | 10 | 3
[7 empty] | printer | 1 |  | 10 | 0
[7 empty] | UPS | 1 | 800 | 2 | 1.6
[7 empty] | Desktop computer | 1 | 100 | 10 | 1
[7 empty] | plug point | 3 |  |  | 0
[7 empty] | LED light | 1 | 18 | 1 | 0.018
|  | Language room | classroom | Lecture and students spent their time | concrete |  | Fluorescent tube Light | 2 | 40 | 0.5 | 0.04
[7 empty] | fan | 1 | 60 | 0.5 | 0.03
|  | Auditorium | meetings |  |  |  | fan | 11 | 60 | 5 | 3.3
[7 empty] | CFL bulb (big) | 8 | 30 | 5 | 1.2
[7 empty] | CFL bulb (small) | 2 | 15 | 5 | 0.15
[7 empty] | plug point | 11 |  |  | 0
[7 empty] | speaker | 2 | 50 | 5 | 0.5
[7 empty] | LED tube light | 8 | 18 | 5 | 0.72
|  | Indoor stadium |  |  |  | aluminum roofing | Fluorescent tube Light | 11 | 40 | 0.5 | 0.22
[7 empty] | LED flood light | 2 | 100 | 0.5 | 0.1
[7 empty] | plug point | 4 |  |  | 0
[7 empty] | power plug | 2 |  |  | 0
|  | general |  |  |  |  | motor | 1 | 1100 | 5 | 5.5
[7 empty] | CCTV | 25 | 15 | 120 | 45
[7 empty] | speaker | 6 | 10 | 1 | 0.06
|  | canteen |  |  |  |  | plug point | 3 |  |  | 0
[7 empty] | Power plug | 3 |  |  | 0
[7 empty] | fridge | 1 | 100 | 1 | 0.1
[7 empty] | LED | 6 | 20 |  | 0
[7 empty] | fan | 4 | 55 | 5 | 1.1
[8 empty] | Total Energy usage per week |  |  | 407.6855
SHEET 1B. OUTDOOR AREA
Sl.No. | Location | Type | Use | Tree cover |  | No. of light | Power | Hours of use / | Power consumption/week
| No. |  |  |  |  | points |  | week
| A block | Road towards office | majority are walking through this way | moderate | LED | 2 | 100 | 40 | 8
| Auditorium | front road | majority are walking through this way | rich | LED | 1 | 100 | 40 | 8
| Self financing block |  |  | moderate | LED | 1 | 100 | 40 | 8
| Library |  |  | moderate | LED | 1 LED flood light - 50 watts;1 LED bulb - 9 watts |  | 40 hours | 2.36
| PHYSICS BLOCK | front road |  | moderate | LED | 4 LED flood light x 100 watts |  | 40 hours | 16

## Sheet2
SHEET 2 EQUIPMENTS/ INSTRUMENTS/APPLIANCES
Sl.No. | Location | Type | Nam of the equipment/ | No. of equipments | Usage pattern | Power rating | Average hours/day | Avg. hrours/week | Average | No. of average
| No. |  | instrument/appliance | [5 empty] | monthly use (in | days of use in
[9 empty] | hours)/equipment | an year
| PHYSICS | Mechanics/Electronics Lab | Battery Eliminator | 8 | During lab hours | 4 | 2 | 6 | 24 | 100
|  |  | CRO | 2 | During lab hours | 33 | 2 | 6 | 24 | 100
|  |  | sodium vapour lamp | 1 | During lab hours | 35 | 2 | 6 | 24 | 100
|  |  | mercury vapour lamp | 1 | During lab hours | 125 | 2 | 6 | 24 | 100
|  |  | transformer | 6 | During lab hours | 5 | 2 | 6 | 24 | 100
|  |  | Dimmerstat | 3 | During lab hours | 5 | 2 | 6 | 24 | 100
| CHEMISTRY |  | Electronics weighing balance | 1 | During lab hours | 9 | 10 min | 0.16 | 0.6 | 100

## Sheet3
TIES CNPI- ENERGY AUDIT
SHEET 3 METER READING DATA ENTRY FORM
Meter No.: 0015584966 |  |  |  | Location:…Henry Baker College, Melukavu (near office)
Weather data…………………………………………………………………………………………………………………………………………..
| Date & day: description | Time | Reading | Comments
| 06-10-2020 Tuesday: Working day | 9:15 | 52126
| 06-10-2020 Tuesday: Working day | 2pm | 52163
| 06-10-2020 Tuesday: Working day | 5pm | 52186
| 07-10-2020 Wednesday: Working day | 9:15 | 52209
| 07-10-2020 Wednesday: Working day | 14:00 | 52236
| 07-10-2020 Wednesday: Working day | 17:00 | 52244
| 08-10-2020 Thursday: Working day | 9:15 | 52269
| 08-10-2020 Thursday: Working day | 14:00 | 52292
| 08-10-2020 Thursday: Working day | 17:00 | 52293
| 09-10-2020 Friday: Working day | 9:15 | 52303 | Power cut
| 09-10-2020 Friday: Working day | 14:00 | 52318
| 09-10-2020 Friday: Working day | 17:00 | 52334
| 10-10-2020: Saturday: Holiday | 9:15 | 52347
| 10-10-2020: Saturday: Holiday | 14:00 | 52354
| 10-10-2020: Saturday: Holiday | 17:00 | 52361
| 11-10-2020 Sunday: Holiday | 9:15 | 52365
| 11-10-2020 Sunday: Holiday | 14:00 | 52367
| 11-10-2020 Sunday: Holiday | 17:00 | 52369